## Copies per ul
Well | Sample | Target | Conc(copies/µl of input sample) | RG Conc. (ng/ul)
A03 | 7291 | N1 | 24.5462 | #REF!
A01 | 7291 | N2 | 33.0575
B03 | 7292 | N1 | 23.8597 | #REF!
B01 | 7292 | N2 | 36.8582
C03 | 7303 | N1 | 27.9 | #REF!
C01 | 7303 | N2 | 37.7801
D03 | 7304 | N1 | 19.8621 | #REF!
D01 | 7304 | N2 | 28.2208
E03 | 7311 | N1 | 23.0293 | #REF!
E01 | 7311 | N2 | 39.8692
F03 | 7312 | N1 | 30.9785 | #REF!
F01 | 7312 | N2 | 47.133
G03 | 8012 | N1 | 41.1321 | #REF!
G01 | 8012 | N2 | 63.8496
H03 | 8014 | N1 | 43.6279 | #REF!
H01 | 8014 | N2 | 66.6378
B04 | 8022 | N1 | 33.4263 | #REF!
B02 | 8022 | N2 | 52.1915
C04 | 8023 | N1 | 30.297 | #REF!
C02 | 8023 | N2 | 42.675
D04 | 8032 | N1 | 37.7965 | #REF!
D02 | 8032 | N2 | 50.9959
E04 | 8033 | N1 | 34.165 | #REF!
E02 | 8033 | N2 | 48.1424
F04 | 8042 | N1 | 29.981 | #REF!
F02 | 8042 | N2 | 41.4347
G04 | 8043 | N1 | 33.203 | #REF!
G02 | 8043 | N2 | 48.462
A04 | NTC | N1 | 0 | #REF!
A02 | NTC | N2 | 0
H04 | Positive Control | N1 | 31.6546 | #REF!
H02 | Positive Control | N2 | 34.3183

## Layout N1 N2
Sample ID layout:
Regular samples
Plate Map | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| N2 | N2 | N1 | N1
A | 7291 | NTC | 7291 | NTC
B | 7292 | 8022 | 7292 | 8022
C | 7303 | 8023 | 7303 | 8023
D | 7304 | 8032 | 7304 | 8032
E | 7311 | 8033 | 7311 | 8033
F | 7312 | 8042 | 7312 | 8042
G | 8012 | 8043 | 8012 | 8043
H | 8014 | Positive Control | 8014 | Positive Control
Well layout:
Plate Map | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| N2 | N2 | N2 | N2 | N2 | N2 | N1 | N1 | N1 | N1 | N1 | N1 | A08-8b-5b | NTC-8b-5b | N1 | N1
A | A08-8a | NTC-8a | A08-8b | NTC-8b | Variant | NTC | A08-8a | NTC-8a | A08-8b | NTC-8b | Variant | NTC | B08-8b-5b | A08-8b-5b | A01 | NTC
B | B08-8a | A08-8a | B08-8b | A08-8b | Variant | Variant | B08-8a | A08-8a | B08-8b | A08-8b | Variant | Variant | C08-8b-5b | B08-8b-5b | B01 | A02
C | C08-8a | B08-8a | C08-8b | B08-8b | Variant | Variant | C08-8a | B08-8a | C08-8b | B08-8b | Variant | Variant | D08-8b-5b | C08-8b-5b | C01 | B02
D | D08-8a | C08-8a | D08-8b | C08-8b | Variant | Variant | D08-8a | C08-8a | D08-8b | C08-8b | Variant | Variant | E08-8b-5b | D08-8b-5b | D01 | C02
E | E08-8a | D08-8a | E08-8b | D08-8b | Variant | Variant | E08-8a | D08-8a | E08-8b | D08-8b | Variant | Variant | F08-8b-5b | E08-8b-5b | E01 | D02
F | F08-8a | E08-8a | F08-8b | E08-8b | Variant | Variant | F08-8a | E08-8a | F08-8b | E08-8b | Variant | Variant | G08-8b-5b | F08-8b-5b | F01 | E02
G | G08-8a | F08-8a | G08-8b | F08-8b | Variant | Variant | G08-8a | F08-8a | G08-8b | F08-8b | Variant | Variant | H08-8b-5b | Positive Control-8b-5b | G01 | F02
H | H08-8a | Positive Control-8a | H08-8b | Positive Control-8b | Variant | Positive Control | H08-8a | Positive Control-8a | H08-8b | Positive Control-8b | Variant | Positive Control | -5b | -5b | H01 | Positive Control
Per Assay (x3 for reagents needed)
| 1x | 17
Supermix | 5 | 93.5
Reverse transcriptase | 2 | 37.4
300 mM DTT | 1 | 18.7
Target primers/probe | 2 | 37.4
RNase-/DNase-free water | 5 | 93.5
Sample RNA input | 5
Total | 20 | 280.5 | 33.3094

## ddPCR data
Well | Sample | Target | Conc(copies/µl of input sample) | Conc(copies/µL) | Status | Experiment | SampleType | TargetType | Supermix | DyeName(s) | Copies/20µLWell | TotalConfMax | TotalConfMin | PoissonConfMax | PoissonConfMin | Accepted Droplets | Positives | Negatives | Ch1+Ch2+ | Ch1+Ch2- | Ch1-Ch2+ | Ch1-Ch2- | Linkage | CNV | TotalCNVMax | TotalCNVMin | PoissonCNVMax | PoissonCNVMin | ReferenceCopies | UnknownCopies | Threshold1 | Threshold2 | Threshold3 | ReferenceUsed | Ratio | TotalRatioMax | TotalRatioMin | PoissonRatioMax | PoissonRatioMin | Fractional Abundance | TotalFractionalAbundanceMax | TotalFractionalAbundanceMin | PoissonFractionalAbundanceMax | PoissonFractionalAbundanceMin | MeanAmplitudeOfPositives | MeanAmplitudeOfNegatives | MeanAmplitudeTotal | ExperimentComments | MergedWells | TotalConfidenceMax68 | TotalConfidenceMin68 | PoissonConfidenceMax68 | PoissonConfidenceMin68 | TotalCNVMax68 | TotalCNVMin68 | PoissonCNVMax68 | PoissonCNVMin68 | TotalRatioMax68 | TotalRatioMin68 | PoissonRatioMax68 | PoissonRatioMin68 | TotalFractionalAbundanceMax68 | TotalFractionalAbundanceMin68 | PoissonFractionalAbundanceMax68 | PoissonFractionalAbundanceMin68
A03 | 7291 | N1 | 24.5462 | 6.1365 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 122.7309 |  |  | 7.5153 | 4.9385 | 16915 | 88 | 16827 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 5782.3178 | 3563.4482 | 3574.9918 |  |  |  |  | 6.813 | 5.5067
A01 | 7291 | N2 | 33.0575 | 8.2644 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 165.2875 |  |  | 9.6441 | 6.8863 | 19714 | 138 | 19576 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6270.2061 | 4820.1406 | 4830.2912 |  |  |  |  | 8.9681 | 7.5611
B03 | 7292 | N1 | 23.8597 | 5.9649 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 119.2984 |  |  | 7.2371 | 4.8521 | 19180 | 97 | 19083 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6080.8078 | 3760.107 | 3771.8436 |  |  |  |  | 6.59 | 5.3809
B01 | 7292 | N2 | 36.8582 | 9.2145 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 184.2908 |  |  | 10.6477 | 7.7831 | 20380 | 159 | 20221 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6324.2474 | 4817.2861 | 4829.0431 |  |  |  |  | 9.9455 | 8.484
C03 | 7303 | N1 | 27.9 | 6.975 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 139.5001 |  |  | 8.3429 | 5.6087 | 16917 | 100 | 16817 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6024.5897 | 3751.8198 | 3765.2546 |  |  |  |  | 7.6727 | 6.2777
C01 | 7303 | N2 | 37.7801 | 9.445 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 188.9006 |  |  | 10.9626 | 7.9294 | 18634 | 149 | 18485 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6320.2811 | 4775.1067 | 4787.4621 |  |  |  |  | 10.2191 | 8.6715
D03 | 7304 | N1 | 19.8621 | 4.9655 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 99.3103 |  |  | 6.2263 | 3.8883 | 16620 | 70 | 16550 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6039.4549 | 3710.489 | 3720.2982 |  |  |  |  | 5.5816 | 4.3968
D01 | 7304 | N2 | 28.2208 | 7.0552 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 141.1042 |  |  | 8.5445 | 5.7509 | 16558 | 99 | 16459 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6373.219 | 4834.0414 | 4843.2441 |  |  |  |  | 7.7872 | 6.3709
E03 | 7311 | N1 | 23.0293 | 5.7573 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 115.1467 |  |  | 7.0918 | 4.6026 | 17002 | 83 | 16919 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6038.5859 | 3731.9033 | 3743.164 |  |  |  |  | 6.4114 | 5.1496
E01 | 7311 | N2 | 39.8692 | 9.9673 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 199.3459 |  |  | 11.5742 | 8.3625 | 17543 | 148 | 17395 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6307.0653 | 4750.6945 | 4763.8247 |  |  |  |  | 10.7869 | 9.1483
F03 | 7312 | N1 | 30.9785 | 7.7446 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 154.8927 |  |  | 9.1311 | 6.3598 | 18289 | 120 | 18169 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6083.8768 | 3786.5058 | 3801.5796 |  |  |  |  | 8.4518 | 7.0379
F01 | 7312 | N2 | 47.133 | 11.7833 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 235.6651 |  |  | 13.4257 | 10.1431 | 19868 | 198 | 19670 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6318.1868 | 4743.3393 | 4759.0339 |  |  |  |  | 12.621 | 10.9461
G03 | 8012 | N1 | 41.1321 | 10.283 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 205.6606 |  |  | 11.8484 | 8.7198 | 19075 | 166 | 18909 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 5972.4437 | 3695.1087 | 3714.9272 |  |  |  |  | 11.0814 | 9.4852
G01 | 8012 | N2 | 63.8496 | 15.9624 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 319.2482 |  |  | 17.868 | 14.0599 | 20035 | 270 | 19765 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6297.7746 | 4724.9628 | 4746.1586 |  |  |  |  | 16.9343 | 14.9914
H03 | 8014 | N1 | 43.6279 | 10.907 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 218.1397 |  |  | 12.5477 | 9.2685 | 18422 | 170 | 18252 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 5976.1716 | 3717.1707 | 3738.0169 |  |  |  |  | 11.7438 | 10.0708
H01 | 8014 | N2 | 66.6378 | 16.6594 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 333.189 |  |  | 18.6301 | 14.6921 | 19558 | 275 | 19283 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6326.8652 | 4752.6959 | 4774.8299 |  |  |  |  | 17.6645 | 15.6553
B04 | 8022 | N1 | 33.4263 | 8.3566 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 167.1313 |  |  | 9.794 | 6.9209 | 18367 | 130 | 18237 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6055.6568 | 3777.1735 | 3793.3004 |  |  |  |  | 9.0897 | 7.6239
B02 | 8022 | N2 | 52.1915 | 13.0479 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 260.9573 |  |  | 14.814 | 11.2844 | 19040 | 210 | 18830 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6212.2248 | 4656.4515 | 4673.6108 |  |  |  |  | 13.9486 | 12.1478
C04 | 8023 | N1 | 30.297 | 7.5742 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 151.4849 |  |  | 8.997 | 6.1532 | 16985 | 109 | 16876 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6021.7897 | 3767.4422 | 3781.9093 |  |  |  |  | 8.2999 | 6.849
C02 | 8023 | N2 | 42.675 | 10.6688 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 213.3752 |  |  | 12.2643 | 9.0754 | 19053 | 172 | 18881 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6255.9295 | 4708.8336 | 4722.7999 |  |  |  |  | 11.4825 | 9.8556
D04 | 8032 | N1 | 37.7965 | 9.4491 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 188.9824 |  |  | 10.9474 | 7.9528 | 19126 | 153 | 18973 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6038.7349 | 3787.806 | 3805.8125 |  |  |  |  | 10.2133 | 8.6854
D02 | 8032 | N2 | 50.9959 | 12.749 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 254.9796 |  |  | 14.4955 | 11.005 | 19020 | 205 | 18815 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6184.4487 | 4655.5588 | 4672.0374 |  |  |  |  | 13.6397 | 11.8589
E04 | 8033 | N1 | 34.165 | 8.5413 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 170.8252 |  |  | 10.0161 | 7.0682 | 17833 | 129 | 17704 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6057.3539 | 3783.9704 | 3800.4155 |  |  |  |  | 9.2935 | 7.7895
E02 | 8033 | N2 | 48.1424 | 12.0356 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 240.7122 |  |  | 13.7218 | 10.3518 | 19257 | 196 | 19061 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6205.0097 | 4685.2174 | 4700.6861 |  |  |  |  | 12.8956 | 11.1762
F04 | 8042 | N1 | 29.981 | 7.4952 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 149.9049 |  |  | 8.8315 | 6.1605 | 19053 | 121 | 18932 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6060.8941 | 3789.0715 | 3803.4992 |  |  |  |  | 8.1768 | 6.8141
F02 | 8042 | N2 | 41.4347 | 10.3587 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 207.1733 |  |  | 11.8944 | 8.8249 | 19963 | 175 | 19788 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6279.8201 | 4714.4477 | 4728.1701 |  |  |  |  | 11.142 | 9.5759
G04 | 8043 | N1 | 33.203 | 8.3007 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 166.0148 |  |  | 9.7807 | 6.8226 | 17210 | 121 | 17089 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 6068.2708 | 3796.6729 | 3812.644 |  |  |  |  | 9.0556 | 7.5464
G02 | 8043 | N2 | 48.462 | 12.1155 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 242.3101 |  |  | 13.8627 | 10.3709 | 18057 | 185 | 17872 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6286.657 | 4743.1118 | 4758.9259 |  |  |  |  | 13.0066 | 11.2251
A04 | NTC | N1 | 0 | 0 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 0 |  |  | 0.18152 | 0 | 19419 | 0 | 19419 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 0 | 3650.3379 | 3650.3379 |  |  |  |  | 0.082942 | 0
A02 | NTC | N2 | 0 | 0 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 0 |  |  | 0.18549 | 0 | 19004 | 0 | 19004 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 0 | 4403.891 | 4403.891 |  |  |  |  | 0.084753 | 0
H04 | Positive Control | N1 | 31.6546 | 7.9136 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 158.2729 |  |  | 9.2854 | 6.5435 | 19093 | 128 | 18965 | 0 | 0 | 0 | 0 | [8 empty] | 4288.3413 | [13 empty] | 5846.1419 | 3630.6017 | 3645.4548 |  |  |  |  | 8.6133 | 7.2144
H02 | Positive Control | N2 | 34.3183 | 8.5796 | Manual | DQ | Unknown | Unknown | One-Step RT-ddPCR Kit for Probes | FAM | 171.5917 |  |  | 10.0224 | 7.1385 | 18717 | 136 | 18581 | 0 | 0 | 0 | 0 | [8 empty] | 5429.9126 | [13 empty] | 6208.191 | 4428.494 | 4441.4255 |  |  |  |  | 9.3155 | 7.8441